## Slide 1: MOTOR DC (DIRECT CURRENT)

## Slide 2: Jenis motor listrik
Mesin konversi elektro mekanis atau mesin listirk dinamis yang berfungsi mengkonversikan energi listrik menjadi energi mekanik berupa putaran
Jenis-jenis motor listrik dibedakan menjadi 2 (dua) yaitu
  Motor arus searah
  Motor eksitasi terpisah
  Motor serie
  Motor shunt.
  Motor kompon.
  Motor arus bolak-balik.
  Motor sinkron
  Motor asinkron (induksi).
Khusus untuk motor arus bolak-balik berdasarkan jumlah phasa dibedakan menjadi 2 (dua) :
    Motor 1 Phase
    Motor 3 Phase

## Slide 3
DC Machine Construction

## Slide 4
DC Motor, What’s Inside?

## Slide 5: Prinsip Kerja Motor DC

## Slide 6
The stator is the stationary outside part of a motor.
The rotor is the inner part which rotates.
In the motor animations, red represents a magnet or winding with a north polarization, while green represents a magnet or winding with a south polarization.
Opposite, red and green, polarities attract.

## Slide 11: PERBEDAAN MOTOR DAN GENERTOR

## Slide 12: JENIS MOTOR DC
SHUNT MOTOR
SERI MOTOR
COMPOUND MOTOR

## Slide 13: DC motor wiring topologies

## Slide 15: KARAKTERISTIK MOTOR DC

## Slide 17: POWER LOSSES

## Slide 18: Contoh
Motor shunt memiliki tahanan medan sebesar 200-ohm dan tahanan armatur 0.4-ohm. Saat tanpa beban motor menarik arus 3 amperes pada tegangan 220-volt.
Hitung besarnya stray power losses.

## Slide 19
Solution
Arus medan: 220/200 = 1.1 A
Arus Armatur: 3.0 - 1.1 = 1.9 A
Armature circuit: 1.9 A x 220 V = 418 W used
I2R dalam armature: (1.9 A) 2 x 0.4 Ω = 1.44 W
Stray power losses 418 - 1.4 = 416.6 W

## Slide 20
Motor DC shunt dengan daya 50 HP, 220 V memiliki efisiensi 83% saat full load. Tahanan belitan medan 110 ohm, tahanan armatur 0.08 ohm, hitung:
a. Total power input dalam watts
b. arus saluran
c. Total copper losses
d. Stray power losses